## Slide 1: Novosibirsk group activity
Andrey Sokolov,
Budker INP, Novosibirsk State University,
Novosibirsk, Russia

## Slide 2: Activity directions
Study of fundamental argon properties using x-ray and neutrons;
Using a matrix of SiPMs for the registration of the electroluminescence in NUV and NIR;
Study of argon doping by nitrogen.

## Slide 3
Experimental setup with the 9 liters cryogenic chamber

## Slide 4: Chamber 3D - view

## Slide 5
Proportional EL in two-phase Ar: Experimental setup

## Slide 6: Setup Assembly
PMT: Hamamatsu R6041-506-MOD
Extraction grid: THGEM
12 cm

## Slide 7
Study of ionization yields of electron recoils in liquid Ar
Recent results on the specific ionization yield depending on the drift field

## Slide 8: Ionization yield of nuclear recoils in liquid Ar
The ionization quenching factor amounted to 0,30±0.04 for the 233 keV recoil energy and 0,27±0.04 for the 80 keV.
More details: A. Bondar et al. EPL, 108 (2014) 12001

## Slide 9: SiPM matrix
Hamamatsu S13360-6050PE
6x6 mm2
Can detect argon light emission in the NUV (300-400 nm) and NIR (700 – 850 nm)

## Slide 10: Cosmic ray events
Side PMTs
Central SiPMs

## Slide 11
EL gap yield: PMT vs MPPC signal
- High EL gap yield, reaching 1.5 pe/e at 7 kV/cm
- The PMT signal amplitude is a factor of 3 larger than expected from VUV emission due to Ar excimers
- The presence of the MPPC signal indicates on the substantial non-VUV contribution, presumably due to N2 emission in the near UV (~56 ppm of N2 in LAr)