## Slide 1
5 mm
THGEM1
Cathode
48 mm
18 mm
Liquid Ar
Gaseous Ar
V0 (-)
4 mm
THGEM0
PMT R6041-506MOD
WLS film
Acrylic box
2 mm
20MΩ
40MΩ
4M
600MΩ
LAr level
1.45 mm
Acrylic plate
11x11 matrix (5x5 active) MPPC S10931-100P
Chamber bottom, including two Al windows Ø 50 mm
R=20MΩ C=5x4.7nF(x6.3kV)
Anode
40MΩ
40MΩ
141x141 mm2
4 mm
Hole in acrylic box
Ø ≈ 65 mm (No WLS film in front of PMT#1)
UW Acrylic plate
3mm
Acrylic plate
2 mm
10MΩ
ЗЧУ
68MΩ
Или вариант 2
68MΩ
8.6MΩ
1MΩ filter
+VG1
ЗЧУ

## Slide 2
4 mm
5 mm
THGEM2
THGEM1
Cathode
48 mm
18 mm
Liquid Ar
Gaseous Ar
X-rays from pulsed Mo tube, 241Am or 109Cd
1.5 mm
11x11 matrix (5x5 active) MPPC S10931-100P
Collimator
V0 (-)
Chamber bottom, including two Al windows Ø 50 mm
4 mm
THGEM0
PMT R6041-506MOD
WLS film
Acrylic box
2 mm
R1
R2
R2
R2
R3
R4
LAr level
Acrylic plate
141x141 mm2 mm
e-
EL photons

## Slide 3
5 mm
THGEM1
Cathode
48 mm
18 mm
Liquid Ar
Gaseous Ar
V0 (-)
4 mm
THGEM0
PMT R6041-506MOD
WLS film
Acrylic box
2 mm
20MΩ
40MΩ
4M
600MΩ
LAr level
1.45 mm
Acrylic plate
11x11 matrix (5x5 active) MPPC S10931-100P
Chamber bottom, including two Al windows Ø 50 mm
R=20MΩ C=5x4.7nF(x6.3kV)
Anode
40MΩ
40MΩ
141x141 mm2
4 mm
Hole in acrylic box
Ø ≈ 65 mm (No WLS film in front of PMT#1)
UW Acrylic plate
3mm
Acrylic plate
2 mm
10MΩ
AMP